## Slide 1
Wastewater & One Water Connection Fees and Service Rates Study
Workshop 4 – August 1, 2019

## Slide 2: Workshop Agenda
Project Status
Wastewater
  Connection Fee Overview
  Monthly EDU Rate Overview
Water
  Connection Fee Overview
  Monthly MEU Rate Overview

## Slide 3: IEUA Funding Strategy: Based upon a comprehensive and integrated approach
Water Rates
Wastewater Rates
Connection Fees – One-Water
Connection Fees – Wastewater
Draft Analysis Complete
Tech Memo Distributed
Draft Analysis Complete
Tech Memo Distributed
Recycled and Recharge analysis in progress
Draft Analysis Complete
On hold pending sampling study
On hold pending sampling study

## Slide 4: Connection Fees Overview

## Slide 5: What is a connection fee? One-time charge imposed on new or upsized meters or connections to compensate for the cost of providing system capacity
Assessed per unit of capacity required:
  Wastewater per Equivalent Dwelling Unit (EDU)
  Water per Meter Equivalent Unit (MEU)
Wastewater Connection Fees
FY 2019/20: $6,955 per EDU
One Water Connection Fees
FY 2019/20: $1,684 per MEU
Adopted Fees

## Slide 6: Hybrid Connection Fee Methodology:
Recovers proportionate share of capacity for existing system and planned future improvements
Future Capacity CIP*
Connection Fee
Future Customers
=
+
Replacement Cost of Available Capacity
*CIP: Capital Improvement Program

## Slide 7: System Value and Cost Components: Hybrid connection fees account for existing assets as well as future improvements.
Existing Assets (Buy-In)
Existing Physical Assets (Replacement Cost New Less Depreciation, RCNLD)
Plus: Construction in Progress
Plus: Cash Reserves
Less: Adjustment for grants and property tax revenues used for capital projects
Future Improvements (Incremental)
Capital Improvements Attributable to Growth

## Slide 8: Wastewater Connection Fees

## Slide 9: Wastewater Connection Fee: Developed based on the total number of customers expressed as Equivalent Dwelling Units (EDUs)
EDUs are calculated based on the same projected flows and loads that are the basis of the Agency’s long-term capital planning;
  Determine the system flow and loadings.
  Determine the EDU flow and loading assumptions.
  Allocate assets to existing customers and future users.
  Allocate assets to the billable constituents of Flow, Biochemical Oxygen Demand (BOD) and Total Suspended Solids (TSS).
  Determine the asset allocation factors.
  Calculate the number of EDUs.

## Slide 10: System Flow Forecast: Flow projections developed through the 2015 Integrated Water Resources Plan (IRP)
Actual flows have decreased due to water use efficiency and changes to plumbing code
IRP flow projections were updated to reflect actual flows in recent years
Consistent with projections used for the One Water Connection and Meter Equivalent Unit (MEU)
 | Start of Study Period (2020) | Increase by 2040 | Future (2040)
2015 IRP Flow Projection (MGD) | 59.2 | 17.1 | 76.3
Updated IRP Flow Projection (MGD) | 50.0 | 18.7 | 68.7

## Slide 11: System Loading Forecast: Load projections developed through the 2015 Integrated Water Resources Plan (IRP)
Unlike flows, projected mass loads are expected to remain consistent with the 2015 Facilities Master Plan (FMP)
  Per capita loads into the system have not decreased as they are not impacted by indoor conservation and water use efficiency
Loading concentrations can vary amongst different user types (residential v. non-residential)
  Sampling data is not available to determine BOD and TSS loading assumptions by user type

## Slide 12: EDU Flow and Loading Assumptions: Three scenarios were developed for the connection fee analysis.
Component | Regional Contract | 2015 Study | 2020 Study Baseline Scenario | 2020 Study Scenario 1 | 2020 Study Scenario 2
Flow (gpd) | 270 | 195 | 180 | 180 | 180
BOD Concentration (mg/L) | 230 | 318 | 345 | 310 | 380
BOD Mass Loading (lb/day) | 0.52 | 0.52 | 0.52 | 0.47 | 0.57
TSS Concentration (mg/L) | 220 | 304 | 330 | 295 | 365
TSS Mass Loading (lb/day) | 0.50 | 0.50 | 0.50 | 0.44 | 0.55
Scenarios tested the sensitivity of EDUs and connection fees to mass loading assumptions

## Slide 13: EDU Flow and Loading Assumptions
Values assumed for Flow, BOD and TSS for a single-family resident, vary from Regional Contract, Exhibit J
Updated values are necessary to tie the number of EDUs for the connection fee analysis to the Agency’s long-term capital planning efforts.
Exhibit J needs to be updated to appropriately calculate the number of EDUs for non-residential users when they connect to the system as required by Prop 26

## Slide 14: Wastewater Connection Fees: Proposing a 3-percent increase consistent with the adopted biennial budget.
Allow time to complete flow and loads study to update EDU assumptions
Facilitate update of Exhibit J in unison with connection fees
Proposed Fees:
  FY 2020/21 $7,164
  FY 2021/22 $7,379
 | Fee per EDU
Current Fee (7/1/2019) | $6,955
Preliminary Draft Fees Presented 5/2/2019 | 
Baseline Scenario -Mass loading matched to Regional Contract | $7,700
High Loading Scenario -Increased Mass Loading | $8,200
Refined Calculations (updated CIP allocations & ENR) | 
Baseline Scenario -Mass loading matched to Regional Contract | $7,679
Low Loading Scenario 1 -Mass loading decreased from Regional Contract | $7,233
High Loading Scenario 2 -Mass Loading increased from Regional Contract | $8,086

## Slide 15: Monthly Wastewater EDU Rates

## Slide 16: Wastewater Monthly EDU Rates: Proposing a 3-percent increase consistent with the adopted biennial budget.
Allow time to complete flow and loads study to update EDU assumptions
Facilitate update of Exhibit J in unison with monthly rates
Proposed Fees:
  FY 2020/21 - $20.60 per EDU/month
  FY 2021/22 - $21.22 per EDU/month

## Slide 17: One Water Connection Fees

## Slide 18: One Water Connection Fees: Refined based on updated CIP, asset, and MEU information.
 | Fee per MEU
Current Fee (7/1/2019) | $1,684
Preliminary Draft Fees Presented 5/30/2019 | $2,100
Refined Draft Fees | $1,791
Change From Current Fees | $107

## Slide 19: MEU Calculations: MEU projections have been updated to reflect the latest member agency MEU survey.
Meter Size | MEU Ratio |  | Potable Connections | Recycled Connections
5/8” & 3/4“ | 1.0 |  | 141,321 | 
1" | 2.5 |  | 45,067 | 122
1.5" | 5.0 |  | 5,280 | 214
2" | 8.0 |  | 8,006 | 458
3" | 17.5 |  | 592 | 117
4" | 31.5 |  | 306 | 36
6" | 70.0 |  | 135 | 30
8" | 120.0 |  | 172 | 11
10" | 150.0 |  | 22 | 23
12" | 175.0 |  | 1 | 
Total Connections |  |  | 200,902 | 1,011
MEUs |  |  | 398,000 | 15,091
MEU Calculation | 
Current MEUs | 
Potable | 398,000
Recycled | 15,091
Total | 413,091
2020 Usage (AFY) | 220,671
AFY per MEU | 0.534
2040 Usage* | 287,533
2040 MEUs | 538,255
New MEUs | 125,164
Percent | 23%
Current Connections and MEUs
Note: Totals may not tie due to rounding.
*2040 usage based on 2015 UWMPs and confirmed by member agencies.

## Slide 20: Capital Improvement Plan: Approximately 30 percent of CIP costs through 2040 are considered to be growth related.
Fund | 2020 - 2040 Project Costs (M) | Future Users' Share (M)
Recycled Water (WC) | $421.3 | $136.8
Recharge Water (RW) | $44.8 | $10.3
Water Resources (WW) | $65.8 | $15.1
Administrative Services (GG) | $3.5 | $0.8
Total | $535.4 | $163.0
Water System Capital Improvement Plan
Note: Totals may not tie due to rounding.
Chart: Growth Related CIP Expenditures
| 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040
GG | 64267.4046 | 39877.9047 | 13146.6265 | 27704.7426 | 19680.0503 | 18318.5851 | 21564.728 | 24816.3253 | 28073.5302 | 30723.423 | 46577.4744 | 46577.4744 | 46577.4744 | 46577.4744 | 46577.4744 | 46883.9036 | 46883.9036 | 46883.9036 | 46883.9036 | 46883.9036 | 46883.9036
WC | 4610567.68 | 382950 | 439990 | 1277650 | 977500 | 1100550 | 4452250 | 6200750 | 6011750 | 2604750 | 18610500 | 18610500 | 18610500 | 18610500 | 18610500 | 2610500 | 2610500 | 2610500 | 2610500 | 2610500 | 2610500
RW | 1184500 | 3032330.12 | 66709.43 | 115000 | 172500 | 230000 | 287500 | 333500 | 333500 | 379500 | 379500 | 379500 | 379500 | 379500 | 379500 | 379500 | 379500 | 379500 | 379500 | 379500 | 379500
WW | 2540925 | 1454865 | 1307205 | 1106990 | 2256990 | 474490 | 416990 | 416990 | 416990 | 416990 | 393990 | 393990 | 393990 | 393990 | 393990 | 393990 | 393990 | 393990 | 393990 | 393990 | 393990
The previous analysis (5/30/2019) included a total of $189.8 million in growth related CIP

## Slide 21: Draft One-Water Connection Fees
Results of the draft analysis suggest a fee of $1,791 per MEU
  The current fee for FY 2019/20 is $1,684 per MEU
Component | 5/2/2019 Prelim. (M) | Refined Results (M)
RCNLD (Existing Physical System) | $61.7 | $61.7
Construction in Progress | $3.3 | $3.4
Reserves | $12.4 | $10.2
Less: Grants and Reimbursements Offset | n/a | ($14.3)
Subtotal Buy-In Portion | $77.3 | $61.0
Incremental Portion (Growth Related CIP) | $189.8 | $163.0
Expected Future Users (MEUs) | 130,056 | 125,164
Buy-In Fee ($ per MEU) | $600 | $488
Incremental Fee ($ per MEU) | $1,500 | $1,303
Total Connection Fee per MEU | $2,100 | $1,791
Note: Totals may not tie due to rounding.

## Slide 22: Water Resources Rates Overview

## Slide 23: Water Resources Fund: Records activities associated with water deliveries and water resources planning
Manages delivery of imported water from MWD
Implements water use efficiency programs throughout the service area
Provides water resources planning and stewardship in the region
Supports compliance with State Statutes (Urban Water Management Plan (UWMP) / Water Use Efficiency (WUE) regulations)
Supports regional water supply programs
  Recycled Water
  Groundwater Recharge
  Storm Water Management

## Slide 24: MEU Rate and RTS Pass-through Update:
FY 2019/20: 60% of MWD RTS
FY 2020/21: 75% of MWD RTS
FY 2021/22: 90% of MWD RTS
FY 2022/23: 100% of MWD RTS
Adopted RTS Pass-Through
FY 2019/20: $1.04 per MEU/Month
Adopted MEU Rates
MEU Rates
  Developed draft rates for FY 2020/21 through FY 2024/25
  No change in the existing rate structure
RTS Pass-Through
  Continue phase in until full pass-through in FY 2022/23

## Slide 25: RTS Outlook: MWD expects the RTS to increase by up to 30 percent over the next five years
Average annual increase of approximately 5.4%
Chart: MWD RTS Outlook
| FYE 2020 | FYE 2021 | FYE 2022 | FYE 2023 | FYE 2024 | FYE 2025 | Total | Total | Total | Total | Total | Total | $4.94 | $5.25 | $5.55 | $5.76 | $6.06 | $6.47
Less: Standby Charge Collection (M) | 1.8893 | 1.8893 | 1.8893 | 1.8893 | 1.8893 | 1.8893
Amount to Be Passed Through (M) | 1.8328 | 2.5205 | 3.2946 | 3.867 | 4.167 | 4.5795
Amount Supported With Property Tax (M) | 1.2219 | 0.84018 | 0.36607 | 0 | 0 | 0

## Slide 26: Financial Forecast: Based on the analysis, 2-percent rate revenue increases are needed in each year
Chart: MEU Rate Financial Forecast (Millions)
| 2021 | 2022 | 2023 | 2024 | 2025
Program Support Costs | 3692840.1635 | 3888074.313 | 4032171.5597 | 4170611.284 | 4437308.9859
Water Use Efficiency Projects | 863060 | 832260 | 832260 | 832260 | 832260
Reserve Contribution | 556084.4858 | 536850.3618 | 540152.6703 | 551339.8612 | 436524.5878
Revenue With Increases | 5111984.6493 | 5257184.6748 | 5404584.23 | 5554211.1453 | 5706093.5737
Minimum Reserve | 2000000 | 2000000 | 2000000 | 2000000 | 2000000
Chart: 
| 2020 | 2021 | 2022 | 2023 | 2024 | 2025
MEU Charge ($/MEU/month) | 1.04 | 1.06 | 1.08 | 1.1 | 1.12 | 1.14

## Slide 27: User Rates: Need to collect all annual revenue requirements less offsetting revenues
Program Support
Water Use Efficiency
Other Projects
Reserve Requirements
User Rate Revenues
Offsetting Revenues
The monthly MEU rate does not currently support capital projects

## Slide 28: Offsetting Revenues: Special project and WUE costs are offset using Connection Fees, Property Taxes, Grants, and Reimbursements
Other Projects (Millions) | FYE 2021 | FYE 2022 | FYE 2023 | FYE 2024 | FYE 2025
Project Costs | $1.15 | $0.55 | $0.25 | $0.25 | $0.50
Less: Offsetting Revenues |  |  |  |  | 
One Water Connection Fees | (0.26) | (0.13) | (0.06) | (0.06) | (0.12)
Property Taxes | (0.88) | (0.42) | (0.19) | (0.19) | (0.39)
Supported By MEU Rates | $0.00 | $0.00 | $0.00 | $0.00 | $0.00
Note: Totals may not tie due to rounding.
Water Use Efficiency Projects (Millions) | FYE 2021 | FYE 2022 | FYE 2023 | FYE 2024 | FYE 2025
Project Costs | $1.60 | $1.56 | $1.56 | $1.56 | $1.56
Less: Offsetting Revenues |  |  |  |  | 
One Water Connection Fees | (0.37) | (0.36) | (0.36) | (0.36) | (0.36)
Conservation Credit Reimbursements | (0.36) | (0.36) | (0.36) | (0.36) | (0.36)
Grants | (0.01) | (0.01) | (0.01) | (0.01) | (0.01)
Supported By MEU Rates | $0.86 | $0.83 | $0.83 | $0.83 | $0.83

## Slide 29: MEU Rate Calculation:
 | FYE 2021 | FYE 2022 | FYE 2023 | FYE 2024 | FYE 2025
Program Support (Millions) | $3.70 | $3.90 | $4.04 | $4.18 | $4.45
Other Projects Supported By Rates (Millions) | 0.00 | 0.00 | 0.00 | 0.00 | 0.00
WUE Projects Supported By Rates (Millions) | 0.86 | 0.83 | 0.83 | 0.83 | 0.83
Reserve Contribution (Millions) | 0.56 | 0.54 | 0.54 | 0.55 | 0.44
Total Requirements (Millions) | $5.12 | $5.27 | $5.41 | $5.56 | $5.72
Less: Offsetting Revenues |  |  |  |  | 
Other Revenues (Millions) | ($0.01) | ($0.01) | ($0.01) | ($0.01) | ($0.01)
Supported by MEU Rate (Millions) | $5.11 | $5.26 | $5.40 | $5.55 | $5.71
Monthly Rate Calculation | FYE 2021 | FYE 2022 | FYE 2023 | FYE 2024 | FYE 2025
Projected MEUs | 401,583 | 405,197 | 408,844 | 412,523 | 416,236
Monthly Rate Per MEU | $1.06 | $1.08 | $1.10 | $1.12 | $1.14
Note: Totals may not tie due to rounding.

## Slide 30: Next Steps

## Slide 31: Next Steps:
Complete analyses for other service rates
  Recycled Water Rates
  Recharge Water Rates
Incorporate scenarios to assess the impact of the Chino Basin Program
Start planning for flow and load study and analysis
Next workshop scheduled tentatively for 09/05/2019